## Slide 1: ATAC-seq Technology and Data Analysis
Asli Uyar

## Slide 2: ATAC-seq protocol
From Buenrostro et al., 2013
Captures open chromatin sites
Using a simple two-step protocol
Requires 500–50,000 cells
Notes: transposase-accessible chromatin using sequencing

## Slide 3: ATAC-seq technology
Buenrostro et al, 2013
Intact islets
Lyse cells
Collect nuclei by centrifugation
Add Tn5 (Nextera)
Incubate 30 min at 37 C
Clean transposed DNA
Amplify/qPCR Sequence
3

## Slide 4: Chromatin accessibility assays
Chromatin accessibility: a window into the genome, Tsompana and Buck Epigenetics & Chromatin 2014

## Slide 5: ATAC-seq data analysis pipeline
Quality Check
Quality Filtering
Quality Trimming
Adapter Trimming
Alignment
Shifting, Removing Duplicates, Sorting
Peak Calling
Raw fastq data
fastq
fastq
fastq
fastq
bam/sam
bed
bed, bedGraph
Annotations
Differential analysis
Integrated data analysis

## Slide 6
Sequencing - paired end reads and insert size

## Slide 7: Insert size distribution of a typical ATAC-seq library
Buenrostro, 2013
nReads
32658550
nAlignedReads
22089723
duplication rate
20%
nReads
32692590
nAlignedReads
9267501
duplication rate
60%
Notes: 32658550 22089723 20%
32692590 9267501 60%

## Slide 8: Aligned read distribution

## Slide 9: Peak calling
A computational method used to identify genomic loci that have been enriched with aligned reads
  commonly in chromatin assays, i.e. ChIP-seq, DNase-seq. ATAC-seq etc…
Estimating the background signal
  No control input sample available
  Local/global
Peak width
Algorithms available
  Macs, peakDeck, Homer

## Slide 10: ATAC-seq peaks

## Slide 11
Pipeline demo